|  |  |  | National Institute of Technology Meghalaya An Institute of National Importance |  |  |  |  |  |  |  |  |  | CURRICULUM |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Programme |  |  | Master of Technology (Structural Engineering) |  |  |  |  | Year of Regulation |  |  |  |  | 2018 |  |  |
| Department |  |  | Civil Engineering |  |  |  |  | Semester |  |  |  |  | I |  |  |
| Course Code |  | Course Name |  | Pre-requisite |  | Credit Structure |  |  |  | Marks Distribution |  |  |  |  |  |
|  |  |  |  |  |  | L | T | P | C | INT |  | MID | END |  | Total |
| CE 523 |  | Advance Concrete Technology lab |  | NIL |  | 0 | 0 | 2 | 1 |  |  |  | 100 |  | 100 |
| Course Objectives |  | To get the knowledge of concrete mix design as per IS and ACI code. |  |  | Course Outcomes |  | CO1 | The student will be able to know concrete design mix for particular grade of concrete according to IS code and ACI code |  |  |  |  |  |  |  |
|  |  | Going through the course one would develop knowledge on strength and durability test of concrete of different grade of concrete |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO2 | Student will be able to use these solutions to guide a durability test of concrete and non-destructive test on concrete using Rebound hammer and USPV method |  |  |  |  |  |  |  |
|  |  | The student will be able to do the non-destructive testing. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SYLLABUS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | Content |  |  |  |  |  |  |  |  |  | Hours |  |  | COs |  |
| I | Design of concrete mix by IS code and ACI methods. |  |  |  |  |  |  |  |  |  | 1 |  |  | CO1 |  |
| II | Design of Special Concrete likes fibers, SCC, HPC |  |  |  |  |  |  |  |  |  | 1 |  |  | CO2 |  |
| III | Strength tests on concrete (compression, tension and bending – modulus of elasticity) |  |  |  |  |  |  |  |  |  | 1 |  |  | CO1 |  |
| IV | Durability test of concrete (permeability test and Rapid Chloride Permeability Test (RCPT) |  |  |  |  |  |  |  |  |  | 1 |  |  | CO2 |  |
| V | Passing ability test on Self Compacting concrete using U-box, L-box, Fill-box, and J-ring test methods |  |  |  |  |  |  |  |  |  | 1 |  |  | CO1 |  |
| VI | Filling Ability of Self Compacting Concrete using slump flow, V-funnel test. |  |  |  |  |  |  |  |  |  | 1 |  |  | CO2 |  |
| VII | Non-destructive tests on concrete. |  |  |  |  |  |  |  |  |  | 1 |  |  | CO1 |  |
| VIII | Corrosion test on concrete |  |  |  |  |  |  |  |  |  | 1 |  |  | CO2 |  |
| IX | Testing of R.C. beams and study of their behaviour |  |  |  |  |  |  |  |  |  | 2 |  |  | CO1 |  |
| X | Testing of R.C. slab and study of their behaviour. |  |  |  |  |  |  |  |  |  | 1 |  |  | CO2 |  |
| XI | Use of various types of strain gauges. |  |  |  |  |  |  |  |  |  | 1 |  |  | CO1 |  |
| Total Hours |  |  |  |  |  |  |  |  |  |  | 12 |  |  |  |  |
| Essential Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Gambhir, M.L., “Building and Construction Materials: Testing and Quality Control”, McGraw Hill, 2017. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. McGraw Hill, 2017. 2. Neville, A.M., “Properties of Concrete’’, Standard Publishers Distributors, 2011. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supplementary Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Shetty. M.S., ‘’Concrete Technology”, S.Chand & Company Ltd, 2006. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Colin. D.J., “Fibre Reinforced Cements and Concrete,” Taylor and Francis Publishers, 1st edition 2006. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Geert D.S. Peter J.M. B., Peter D., John G. “Self Compacting Concrete,” Whittles Publishing, 1st edition 2008. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |