| National Institute of Technology Meghalaya An Institute of National Importance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CURRICULUM |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Programme |  |  |  | Bachelor of Technology in Mechanical Engineering |  |  |  |  |  |  |  |  |  | Year of Regulation |  |  |  |  |  |  |  | 2018 |  |  |  |  |
| Department |  |  |  | Mechanical Engineering |  |  |  |  |  |  |  |  |  | Semester |  |  |  |  |  |  |  | V |  |  |  |  |
| Course Code |  | Course Name |  |  |  |  |  |  |  |  | Credit Structure |  |  |  |  |  | Marks Distribution |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | L |  | T |  | P |  | C |  | INT |  | MID |  | END |  | Total |  |
| ME 371 |  | Power Plant Engineering and Energy Audit |  |  |  |  |  |  |  |  | 2 |  | 0 |  | 0 |  | 2 |  | 50 |  | 50 |  | 100 |  | 200 |  |
| Course Objectives |  | To introduce present energy scenario, source and energy storage along with the economics of power plant. |  |  |  |  |  |  |  |  | Course Outcomes |  | CO1 |  | Students will be able to explain and classify working principles of different plant components of steam turbine power plant. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | CO2 |  | Students will be able to understand basic working principles and classify diesel and gas turbine plants. Compare with steam turbine power plant. |  |  |  |  |  |  |  |  |  |  |  |
|  |  | To explain the working principles, plant layout, plant components of different power plants like steam turbine, diesel, gas turbine, nuclear, hydro-electric, solar thermal, wind turbine and fuel cell plants. |  |  |  |  |  |  |  |  |  |  | CO3 |  | Students will be able to explain functioning of nuclear power plant and plant components. Recognize safety measures and disposal of nuclear waste. |  |  |  |  |  |  |  |  |  |  |  |
|  |  | To explain the environment pollution during power generation and its control measures. |  |  |  |  |  |  |  |  |  |  | CO4 |  | Students will be able to explain working principles of power plants using renewable energy resources. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | CO5 |  | Students will be able to demonstrate underlying pollution and its effect during power generation in power plants. Illustrate its control rules and measures. |  |  |  |  |  |  |  |  |  |  |  |
| No. | COs |  | Mapping with Program Outcomes (POs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Mapping with PSOs |  |  |  |  |  |
|  |  |  | PO1 |  | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 |  | PO8 | PO9 | PO10 |  | PO11 |  | PO12 |  |  | PSO1 |  | PSO2 |  |  | PSO3 |
| 1 | CO1 |  | 3 |  | 0 | 0 | 0 | 0 | 2 | 2 |  | 2 | 0 | 0 |  | 0 |  | 0 |  |  | 2 |  | 2 |  |  | 0 |
| 2 | CO2 |  | 3 |  | 0 | 0 | 0 | 0 | 2 | 2 |  | 2 | 0 | 0 |  | 0 |  | 0 |  |  | 2 |  | 2 |  |  | 0 |
| 3 | CO3 |  | 3 |  | 0 | 0 | 0 | 0 | 2 | 3 |  | 3 | 0 | 0 |  | 0 |  | 0 |  |  | 2 |  | 2 |  |  | 0 |
| 4 | CO4 |  | 3 |  | 0 | 0 | 0 | 0 | 2 | 3 |  | 2 | 0 | 0 |  | 0 |  | 1 |  |  | 2 |  | 2 |  |  | 0 |
| 5 | CO5 |  | 0 |  | 0 | 0 | 0 | 0 | 3 | 3 |  | 2 | 0 | 0 |  | 0 |  | 0 |  |  | 2 |  | 2 |  |  | 0 |
| SYLLABUS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | Content |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Hours |  |  |  | COs |  |  |
| I | Introduction Energy scenario, sources of energy, energy storage, pollution and its control. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 02 |  |  |  | All COs |  |  |
| II | Steam Turbine Power Plants Layout, site selection, major plant components: steam turbines, condensers, cooling tower, boilers, coal handling systems, feed water treatment. Operation and maintenance of steam power plant, safety measures. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 05 |  |  |  | CO1 |  |  |
| III | Diesel and Gas Turbine Plant Layout, applications, types, plant components, gas turbine fuels, lubrication systems, operation and maintenance, comparison with steam turbine power plant, safety measures. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 05 |  |  |  | CO2 |  |  |
| IV | Nuclear Power Plants Plant layout, applications, components of nuclear power plant, types of reactors, safety, disposal of nuclear waste, nuclear power plants in India and world. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 |  |  |  | CO3 |  |  |
| V | Other Power Plants Plant layout, site selection, principles of working and plant components of- hydro-electric, solar thermal & wind turbine power plant and fuel cell power systems. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 |  |  |  | CO4 |  |  |
| VI | Pollution and its Control Air and water pollution by power plants and its control, radioactive contamination, central and state pollution control rules and data, effects of pollutants on human health, acid rain |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 |  |  |  | CO5 |  |  |
| Total Hours |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 24 |  |  |  |  |  |  |
| Essential Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. P.K. Nag, “Power Plant Engineering”, 4th ed., 2017, McGraw Hill Education. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. R.K. Hegde, “Power Plant Engineering”, 1sted., 2015, Pearson Education India. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. S. Domkundwar, S. C. Arora, A. V. Domkundwar, “Power Plant Engineering”, 8thed., 2016, Dhanpat Rai and Co. (P) Limited. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supplementary Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. M. M. El Wakil, "Power plant technology", 1st ed. 2010, McGraw Hill Education. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

69